## Sheet1
Heat load calcluation for the xenon photon detector vessel
Unit
Radiation | Outer Vessel -> Inner Vessel (30 Mylar layers) | 3.1 | W
Conduction | Nozzle (N1-N3) via xenon gas | 0.2 | W
Conduction | Nozzle (N1-N3) via belows | 4.6 | W
Conduction | Support (brace and supporting pipe) | 6.3 | W
Heat generation | PMT (65mW/PMT) | 52 | W
Conduction | PMT HV and Signal Cables | 50 | W
total |  | 116.2 | W