## Slide 1: μ+→e+γ探索実験 MEG II Run 2022のまとめと今後の展望 T Summary of Run 2022 of μ+→e+γ experiment MEG II and the prospects
内山 雄祐 on behalf of MEG II collaboration
日本物理学会2023年春季大会 令和5年3月23日
23pT1-3

## Slide 2: MEG II has started!
The pilot run in 2021demonstrated:
  Detector operates stably with sufficient resolutions,
  Electronics, trigger, and DAQ system work,
  Reconstruction algorithms are ready,
  Physics analysis ongoing.
First physics result with sensitivity comparable to MEG is foreseen to be published this summer
  with <10% of data aimed

## Slide 3: Timeline
2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
conceptual design
proposal
R&D
Construction
Beam tests, pilot runs
Physics run
MEG DAQ
MEG final result
pTC
RDC
LXe
CDCH
Elec.
pTC
RDC
LXe
CDCH
Now
1st result
10 years to start physics run
Long shutdown of PSI accelerator
previous 2 talks
this talk

## Slide 4: What we need next
Improve resolutions
Improve reconstruction efficiencies
Reduce backgrounds
Reduce systematic uncertainties
Collect data as much as possible
23aT3-2,6,7
23pT2-5,6,7

## Slide 5: For long stable run: LXe detector
MPPC PDE for VUV light decreases with beam use
Must recover to >12%
  to start 2022 run and to run for ~6 months
Mean
Minimum required
Surface damage (hole buildup)
Critical problem

## Slide 6: For long stable run: LXe detector
MPPC PDE for VUV light decreases with beam use
Must recover to >12%
  to start 2022 run and operate ~5 months
In situ annealing was applied to all the MPPCs
  in Feb. – May (accel. shutdown period)
  using Joule heat induced by MPPC current S. Ban et al., JPS 2022 autumn 7aA441-3
Minimum required
Mean
2022
Safe and effective method was established.
Annealing towards 2023 was already completed in more efficient way (Feb. – Mar.).
See 23aT3-7
MPPCs
Gas Xe

## Slide 7: For long stable run: e+ spectrometer
Minimum maintenance to start 2022 run smoothly
  No wire has broken since 2020. → Did not open chamber.
  Did not extract detectors from beamline. Also, for this year.
  No need of conditioning with optimized gas mixture (He:IsoB (90:10) + 1.5% isopropanol + 0.5% O2)
3×107
4×107
5×107
spikes due to irregular isopropanol flow
Stably operated during the whole 2022 run
Current (μA)

## Slide 8: Beam time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Accel. shutdown
MEG II beamtime (6.5 mon)
Other exp.
MPPC annealing
Detector/beam commissioning
Physics run （４ mon）
Calib. run
Accel. shutdown
MEG II beam time (4.5 mon)
Other exp.
Elec. installation
Detector/elec. commissioning
Physics run （1.5 mon）
Calib. run
Detector installation
Beam tuning
Engineering run
Detector maint.
2021
2022
First long production run
Essential to collect as much data as possible

## Slide 9: Improving run efficiency
Optimizing run scheme Physics run vs. calib. run
  Periodical calibration is indispensable for long run.
  At the beg. dead time due to LXe calib was ~10%.
  At the end, it is <5%, by reducing length and frequency of calibrations
Other dead time (~5%)
Beam down
Human error
Run transition

## Slide 10: Improving DAQ efficiency
DAQ capability improved from 65 MB/s to 180 MB/s
  New DAQ machine & tuning of DAQ system
  Still too high trigger rate causes inefficiency in DAQ. Trigger rate ∝ (beam intensity)2.
  More effort on trigger logic is necessary for higher beam, limited in 2022 by LXe energy scale non-uniformity (online calibration).
Move data compression from online to offline

## Slide 11: Beam intensity
Must be chosen to optimize sensitivity considering many factors:
Capability & ageing of detectors
Reconstruction efficiency with pileup
Background level
∝ (Rμ)2
Statistics
Trigger rate & data size
Started with 3×107 s-1
we were not sure MPPC PDE can sustain until the end
DAQ rate exceeded the capability
Increased to 4×107 and 5×107 s-1.
Analyze these data to optimize it in next runs.
e+ tracking efficiency

## Slide 12: 4-month stable run!
Run 2012 (MEG longest run)
2012 Tlive : 7.4e6 s
Longest run we ever achieved,
×3.5 statistics of 2021
Run 2021
Run 2022

## Slide 13: Sensitivity estimate
“Sensitivity”: median 90% CL UL for BG-only hypothesis
S2021 = 8.2×10-13
S2021+2022 = (2.0 – 2.4)×10-13
  × 2.5 better than MEG
  Still statistical limited
  Assuming same detector performance as 2021
Aim to finalize analysis with further improvement
and publish new result by the end of this year
previous talk 23pT1-2
A new limit (or maybe evidence) for μ→eγ foreseen with this dataset

## Slide 14: Next
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Accel. shutdown
MEG II beamtime (6.5 mon)
Other exp.
MPPC annealing
Detector/beam commissioning
Physics run （４ mon）
Calib. run w/ pion beam
Accel. shutdown
MEG II beam time (4.5 mon)
Other exp.
Elec. installation
Detector/elec. commissioning
Physics run （1.5 mon）
Calib. run
Detector installation
Beam tuning
Engineering run
Detector maint.
2021
2022
Shorten these periods to maximize physics run
What will it be?? (mu3e experiment)

## Slide 15: 2023 beamtime
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Accel. shutdown
MEG II beamtime (6.5 mon)
Other exp.
MPPC annealing
Detector/beam commissioning
Physics run （４ mon）
Calib. run
Accel. shutdown
MEG II beam time (4.5 mon)
Other exp.
Elec. installation
Detector/elec. commissioning
Physics run （1.5 mon）
Calib. run
Detector installation
Beam tuning
Engineering run
Detector maint.
2021
2022
Accel. shutdown (longer to save electricity)
MEG II beamtime (6.5 mon)
Other exp.
MPPC annealing
completed
Detector/beam commissioning
Physics run （~5 mon）
Calib. run
2023
Longer run is possible
5/16
11/30

## Slide 16: Projection
Two constraints
Long shutdown in 2027–2028 planned
  to build a new high-intensity muon beamline
Share πE5 beamline with mu3e
  once they get ready. They also conduct phase I experiment before the shutdown…
If 50:50 share with mu3e in 2024–2026
Run next 3 years to reach the goal sensitivity
No beam
2027 & 2028

## Slide 17: Conclusions
Run 2022 was the 1st long production run of MEG II
The dataset will give us a new limit or evidence for μ→eγ
  Look forward to 2021 result first (summer), and then 2021+2022 one later in this year.
To reach the goal sensitivity, we’ll run at the end of 2026
  This will be the best input to new physics from CLFV experiments in 2020s.
  Important to collect as much data as possible.